## 1-7 no. question
ID | Question | OptionA | OptionB | OptionC | OptionD | Correct Answer | Correct Option
1 | What is allowable speed of Emergency Vehicle like Fire tender , Ambulance etc.. while responding to emergency ? | 30 | 25 | 40 | 35 | 40 | C
2 | The validity of all types of permits in R CoW | 7 days with renewal every day for planned working hours | 7 days with renewal every shift for planned working hours | 7 days with renewal every week for planned working hours | End of Day with renewal every shift | 7 days with renewal every shift for planned working hours | B
3 | Which permit is required for entry of vehicles inside plant ? | Cold work permit is required | Confined Space entry permit is required | Hot work permit is required | Vehicle fitness certificate is required | Hot work permit is required | C
4 | Insulation removal on live equipment to inspect for leaks – known leak - is classified as | Hot work Low Risk | Cold Work Medium Risk | Cold Work High Risk | Hot Work Medium Risk | Cold Work High Risk | C
5 | L2 HITRA for Hot Work inside the dyke area of hydrocarbon storage tanks shall have Residual Risk minimum as | Purple | Turquoise | Blue | Blue or Turquoise | Blue | C
6 | Abrasive blasting – on live equipment requires | Hot work Low Risk | Hot Work Medium Risk | Cold Work Medium Risk | Hot Work High Risk | How Work Medium Risk | B
7 | TLV/TWA of Chlorine | 0.1 ppm | 1 ppm | 5 ppm | 10 ppm | 0.1 ppm | A
8 | During the forklift battery charging process which gas is generated ? | CO | CO2 | CH4 | Hydrogen | Hydrogen | D
9 | MEWP - Expand the terms | Manually Elevating Working Platform | Mobile Elevated Working Platform | Motor Elevating Working Platform | None of above | Mobile Elevated Working Platform | B
10 | Nitrogen gas at ambient temp. is ________. | Lighter then air | Heavier then air | equal then air | non applicable | Lighter then air | A
11 | For Hazira site Nitrogen Gas line Colour Code is ______. | Green | Blue | Yellow | White | White | D
12 | Main Health hazards of Nitrogen gas is ________. | Irritation | Toxic | Asphyxiation | Explosion | Asphyxiation | C
13 | Draining of process effluent into the SWD (sewage water drain) is | Non-significant aspect | Significant aspect | Security violation | None | Significant aspect | B
14 | Which of the following does not constitute an environmental incident? | Stack Emission | Release of HC into atmosphere | Discharge of Domestic sewage into storm water drain | All the above | Stack Emission | A
15 | In Oxy Acetylene gas cutting set , how many flash back arrestors are to be used? | 4 | 6 | 2 | 8 | 2 | C
16 | What is a maximum permissible wind speed during mobile crane operation ? | 40 Km/Hr. | 36 Km/Hr | 20 Km/Hr. | 25 km/Hr. | 36 Km/Hr | B
17 | If SLI is not working or not available in crane , the load capacity should not exceed _________________ . | 60% | 70% | 80% | 85% | 60% | A
18 | What is maximum permissible loading capacity of mobile crane if Safe Load Indicator is working ? | 60% | 70% | 80% | 85% | 85% | D
19 | Portable ladder shall be placed on ground with preferable angle. | 75 deg. | 55 deg. | 50 deg. | 45 deg. | 75 deg. | A
20 | Which is an appropriate anchor point for lanyard of full body harness? | Sprinkler water pipeline | Impulse tube line | Permanent structure | 1" pipe line | Permanent structure | C
21 | Which is suitable ladder for working inside substation? | FRP ladder | Rope ladder | Wooden ladder | Monkey ladder made with mild steel | FRP ladder | A
22 | In case of road closure for carrying out any job, information is required to be given | Fire Dept. | Security Dept | SSM | All of the above | All of the above | D
23 | At what height Guard/Top rail is required on platform ? | 1050 | 1150 | 1250 | 950 | 1050 | A
24 | At what height knee-rail is required on platform ? | 425 mm | 525 mm | 500 mm | 625 mm | 525 mm | B
25 | Work at height means- | work in any place where, if precautions were not taken, A person should fall a distance liable to cause personal injury. | To work above 3.5 meter . from floor level | To work above 1.8 meter. from floor level | To work above 1.5 meter. from floor level | work in any place where, if precautions were not taken, A person should fall a distance liable to cause personal injury. | A
26 | Full body harness with double lanyard shall be worn when work requires persons closer than | 1.5 meters from roof edge without parapets | 2 meters from roof edge with parapets | 1.8 meters from roof edge without parapets | 2.5 meters from roof edge without parapets | 1.8 meters from roof edge without parapets | C
27 | Service to process interconnections devices are provided to prevent _______ . | Back flow | Forward flow | Upward flow | Leftward flow | Back flow | A
28 | Who is final approving authority for interlock Bypass > 24 hrs. and < 7 Days for risk category -4? | Shift Engineer | Production Manager | Maintenance Manager | Plant HOD | Plant HOD | D
29 | Two basic Type of respirators are | Air purifying and Air supplied | Air Purging and Air cleaning | Air filtering and air cleaning | Face mask and Half mask | Air purifying and Air supplied | A
30 | 300 bar pressure SCBA cylinder should be replaced if cylinder pressure is less than _____ . | 300 bar | 45 bar | 270 bar | 250 bar | 270 bar | C
31 | Last Lost Work Case in HMD Complex (Upto 24.02.2025) | Shipping | SBR | Cracker | MEG | Shipping | A
32 | The acronym CPR in paramedics means _______ . | Cardio pulse ratio | Cardio pulmonary ratio | Cardiopulmonary resuscitation | Cardio prevention ratio | Cardiopulmonary resuscitation | C
33 | Grounding with earth fault protection is required for protection of | Equipment | Human Being | Both of above | None of above | Both of above | C
34 | Which of these is the better conductor? | Earth | Aluminium | GI | Copper | Copper | D
35 | Which type of torch is allowed in operational areas? | Having voltage less than 24 V | Explosion-proof | Having voltage less than 4.5 V & Explosion-proof | No torch is allowed, only hand-lamps are allowed | Having voltage less than 4.5 V & Explosion-proof | C
36 | The colour code for the identification of location fire extinguisher is | Blue and White Bands in a Circle | Red and White Bands in a Circle | Green And White Bands in a circle | Black & Yellow Stripes | Black & Yellow Stripes | D
37 | Level -1 PSSR is required to be done for __________. | MOC with more than Rs 5.0 crore | MOC with less than Rs 5.0 crore | Both A & B | MOC for any new equipment start up | MOC with more than Rs 5.0 crore | A
38 | Level -2 PSSR is required to be done for __________. | MOC with more than Rs 5.0 crore | MOC with less than Rs 5.0 crore | MOC for any new equipment start up | All of Above | All of Above | D
39 | Effect of inadvertent mixing of chemicals is available from | Chemical to chemical interaction Metrix | MOC-T | PSSR | MIQA | Chemical to chemical interaction Metrix | A
40 | What is PHR? | Process Hazards Review | Process Health Review | Periodic Hazard Review | None of the above | Process Hazards Review | A
41 | AS per LOTO procedure ,When the try test (i.e. check of effectiveness of electrical isolation) shall be done? | During the job | Before starting the job | After completion of job | No body can do try test | Before staring the job | B
42 | The procedure shall be reviewed not later than . | 2 years from the date of the last revision. | 4 years from the date of the last revision. | 3 years from the date of the last revision. | 5 years from the date of the last revision. | 3 years from the date of the last revision. | C
43 | Who can isolate the Radioactive source like Nucleonic gauge in plant equipment ? | Shift in charge | PTW accepter | Radiation Safety officer (RSO) | Contractor supervisor | Radiation Safety officer (RSO) | C
44 | Grinding machine speed shall be ________. | No criteria | more than the wheel speed | Less or equal to the wheel speed | All of the above | Less or equal to the wheel speed | C
45 | Lockout means------ | Placing a notice on the power source to warn others that job is in progress. | Blocking the flow of energy from the power source to the equipment. | Blocking the flow of energy from the control source to the equipment. | None of all | Blocking the flow of energy from the power source to the equipment. | B
46 | Who is responsible for preparing Job Planning for Line Break activity? | Mechanical | CTS | Safety | Process | Process | D
47 | Who will ensure that equipment / pipeline etc. are cleared before starting line break job? | Shift-in-charge | CTS engineer | Mechanical Engineer | Contractor supervisor | Shift-in-charge | A
48 | How are the hazards in the job communicated to the working crew before line break activity? | Discussing Procedure | Tool Box Talk | Level-2 training | All of above | Tool Box Talk | B
49 | A horizontal rail secured to standards and erected along the exposed edges of scaffolds to prevent workmen from falling. | Guard rail | Knee rail | Toe rail | all the above | Guard rail | A
50 | A gas which is resistant to chemical action under normally encountered conditions is called | Ideal gas | Flammable gas | Toxic gas | Inert gas | Inert gas | D
51 | ----------performs the isolation in field and confirms the isolation and the lock number through the Handheld device (HHD). | Issuer and Acceptor | Field Executive and Acceptor | The Field Executive and/or electrical engineer | Verifier | The Field Executive and/or electrical engineer | C
52 | In HITRA, Install noise enclosure ---- | Elimination | Substitution | Engineering control | Administrative control | Engineering control | C
53 | In HITRA, Automate process ---- | Elimination | Substitution | Engineering control | Administrative control | Substitution | B
54 | In HITRA, Implementing permit-to-work system ---- | Elimination | Substitution | Engineering control | Administrative control | Administrative control | D
55 | In HITRA, Redesign workplace layout | Elimination | Substitution | Engineering control | Administrative control | Engineering control | C
56 | In HITRA, Working in pairs is---- | Elimination | Substitution | Engineering control | Administrative control | Administrative control | D
57 | Who shall ensure displaying of the permit and availability of all relevant documents at the work site. | Issuer | Acceptor | Verifier | Plant Manager | Acceptor | B
58 | Testing sequence for CSE Atmosphere A Test for Combustible gases B Test for Toxic Gas C Stop Air Mover D Test for oxygen | CDAB | CDBA | CADB | CBDA | CDAB | A
59 | Full form of OMS | Operation Management system | Operating Management system | Operation Managing System | All of above | Operating Management system | B
60 | How many elements in OMS system | 6 | 7 | 8 | 9 | 8 | C
61 | NRR Means | Noise Reduction Rating | Noise Reduction Rules | Nuremburg Rating Rules | Noise Rating Rules | Noise Reduction Rating | A
62 | HSE related violations are addressed utilizing | LPR-ZT Process | Progressive Discipline Frame Work for Employee | Consequence Management Frame work | Progressive Discipline Frame Work for Contractor | Progressive Discipline Frame Work for Employee | B
63 | Changes made in Confined Space Entry Procedure Post VCM IHC are related to | Confined Space Entrant Training Annexure 1A | Distillation column /Vessel Decommissioning | Ventilation Process | Continuous and/or Periodic monitoring | Distillation column /Vessel Decommissioning | B
64 | Job Planning is crucial activity for OMS Sub Element | 4.5 Control of Work | 4.1 Procedure and Practices | 4.6 Continuous and/or Periodic monitoring | 3.1 Risk Assessment and Management | 4.5 Control of Work | A
65 | Risk based SOP Categories as per Site IMS Procedure at HMD | Purple Risk - Blue Risk - Turquoise Risk - White Risk | Level-1/Level-2/Level-3 | Vital - Essential - Desirable | HSEF - Reliability - Technology | Level-1/Level-2/Level-3 | B
66 | Who takes decision to suspend or cancel the work-permit if the requirements are not met or the situation is not conducive to continue the work. | Maintenance Manager | Verifier | Acceptor | Issuer | Issuer | D
67 | A bulb that shatters when bubble inside it disappear(Expansion of liquid) in the event of fire breakdown is called as | Quartzoid bulb | Shatter bulb | Argon bulb | Orange bulb | Quartzoid bulb | A
68 | A fusible plug used in the heat detectors normally have low | flash point Dilute point | Boiling point | Melting point | none of these | Melting point | C
69 | Apparel used for rescue operation in an area of intense heat ,fire, steam, hot liquid is ? | Cryogenic suits | Specialty Thermal Protective Apparel | Asbestos suits | All of them | Specialty Thermal Protective Apparel | B
70 | Assembly points in various plants have been marked | Trapezium | Squared | Triangle | Concentric circles | Concentric circles | D
71 | Example of substitutions in risk assessment is | Lock out | Automate Process | Install Interlocks | Work Instructions | Automate Process | B
72 | Best extinguishing media for liquid hydrocarbon pool fire is | CO2 | DCP | Halon | Foam | Foam | D
73 | BLEVE can take place in | Naphtha | Chlorine | LPG | None of these | LPG | C
74 | Class -A flammable liquid as per Petroleum Act is the liquid having flash point | Less than 23 deg C | More than 23 deg C | Less than 25 deg C | More than 25 Deg C | Less than 23 deg C | A
75 | Classification of fires is based upon | Oxygen levels | Nature of fuel | Amount of heat | None of the above | Nature of fuel | B
76 | De-energization request after job completion is raised by | Plant Electrical | Area operator | Executing department | Safety department | Executing department | C
77 | Which of these is not a part of Incident Investigation Report | Name of the person involved in the incident | Key factors | Name of team members | Photographs | Name of the person involved in the incident | A
78 | Who is responsible for verifying the checkpoints as applicable for releasing the temporary electrical connection. | Plant Electrical | Area operator | Executing department | Safety department | Plant Electrical | A
79 | During emergency AFS member will report to | SSM | Fire Officer | Incident controller | All the above | Fire Officer | B
80 | During a vapour cloud formation, water spray | Cools the cloud below ignition point | Disperses the cloud by air mixing | Extinguish the Fire | None of Above | Disperses the cloud by air mixing | B
81 | Deluge Valve works on the principle of | Differential pressure | Cloud identification | All the above | Temperature Difference | Differential pressure | A
82 | Emergency siren is tested at RIL Hazira on | Sunday | Tuesday | Thursday | None of the above | None of the above | D
83 | Escape set is used to | Rescue operations | Escape | Practice | None of the above | Escape | B
84 | Expand BLEVE ? | Boiling liquid expanding vapour cloud explosion | Boiling liquid explosion vapour cloud expansion | Boiling liquification expanding vigorous explosion | None of the above | Boiling liquid expanding vapour cloud explosion | A
85 | Whose responsibility is to Maintain Excellent Housekeeping in the Plant area. | Plant PSR | Manufacturing Head | Safety dept. | Each and every individual. | Each and every individual. | D
86 | What is fragile roof | Sloping roof | High roof | A roof which cannot safely support the weight of person | Curved roof | A roof which cannot safely support the weight of person | C
87 | IDLH Stands for | Independent of life & health | Immediately dangerous to life & Health | Inactively dangerous to life & health | none of the above | Immediately dangerous to life & Health | B
88 | Metal fire is categorized as | Class D | Class B | Class A | None of the above | Class D | A
89 | PHA means | Process hazard analyser | Periodic health analysis | Preventive hazard analysis | Process Hazard Analysis | Process Hazard Analysis | D
90 | STEL stands for | Standard Toxic Exposure limit | Short term Exposure limit | Safe time Exposure limit | None of these | Short term Exposure limit | B
91 | Teal fires are classified as | Class A | Class B | Class C | Class D | Class D | D
92 | The range of flammability indicates | Threshold limits | Explosive limits | STEL | None of these | Explosive limits | B
93 | The safest way to exit a smoke filled room is | Running | Jumping out | Crawling | walking | Crawling | C
94 | The full form of AFS is | Auxiliary fire Station | Active Fire Squad | Auxiliary Fire squad | Assisting Fire Squad | Auxiliary Fire squad | C
95 | The general products of combustion are | CO | CO & H2O | CO2 & CO | Black Damp | CO2 & CO | C
96 | What is UVCE ? | Unconfined Vapour Closed Explosion | Unconfined vapour cloud explosion | Unlimited vapour cloud explosion | None of these | Unconfined vapour cloud explosion | B
97 | The red colour QB is rated for temperature | 68 | 141 | 59 | 67 | 68 | A
98 | What is non sparking tools made of ? | Teflon | Wood | Soft metal | All of these | All of these | D
99 | What is class C petroleum product ? | Flash Point<23 | 23<Flash Point<93 | 65<Flash Point<93 | None of these | 65<Flash Point<93 | C
100 | What is TREM | Transport Card | Transport Emergency Card | Transport Management Card | Transport Emergency management Card | Transport Emergency Card | B
101 | The technique used for determining key factors is | Why How method | Six Sigma method | Why Why Method | None of these | Why Why Method | C
102 | A tanker carrying Benzene from RIL, Hazira site topples near Ichhapore. This is a | Process Incident | Distribution Incident | Serious Incident | Major incident | Distribution Incident | B
103 | Where the nitrogen connection is not permitted ? | Confined space / building where leaks reduce oxygen level in atmosphere | Decommissioning activity in close loop | For purging in process | All of above | Confined space / building where leaks reduce oxygen level in atmosphere | A
104 | Which type hand gloves is required for liquid nitrogen handling ? | Neoprene | Cryogenic hand gloves | Cotton hand gloves | Supported PVC hand gloves | Cryogenic hand gloves | B
105 | Asphyxiant means | A vapour or gas that can cause unconsciousness or death by Suffocation (i.e. lack of oxygen). | Normal atmospheric condition | Atmosphere in confined space | None of the above | A vapour or gas that can cause unconsciousness or death by Suffocation (i.e. lack of oxygen). | A
106 | NIHL stands for | Noise Influenced Hearing loss | Noise Induced Hearing loss | Notified Industrial Hearing Loss | Notified Hearing Industrial Levels | Noise Induced Hearing loss | B
107 | Who is the functional owner of PHA document? | HOD – CTS | HOD – CES | HOD – Plant | Manufacturing head | HOD – CTS | A
108 | Which systems shall not be interconnected to process. | Plant air | Instrument Air | Breathing Air | None of the above | Breathing Air | C
109 | What is FMEA? | Failure Mode Effect Analysis | Fault Mode Effect Analysis | Failure Mode Engineering Analysis | Finite Mode Effect Analysis | Failure Mode Effect Analysis | A
110 | Aluminized proximity suits are used where pyrophoric chemicals or molten materials are handled such as -----------? | TEAL | NAPHTHA | DEG | CHLORINE | TEAL | A
111 | What is frequency of certification of electrical driven portable equipment's | Monthly | Quarterly | Half-Yearly | Annually | Half-Yearly | C
112 | What should be rating of protecting ELCB used during operation of the portable and transportable apparatus | 30 mA | 60 mA | 100 mA | Not required | 30 mA | A
113 | What are the 4Ps of the OMS | People, Process, Plant Performance | People, Performance, Plant, Productivity | Parameter, Performance, Plant, Productivity | Planning, Privilege , Plant, Productivity | People, Process, Plant Performance | A
114 | MSDS does not provide you following information | Physical Properties | Toxicity | All reactions and side reactions. | Action needed in case of exposure | All reactions and side reactions. | C
115 | As per OSHA acceptable Noise level for 8 hour work shift at the workplace is | 90 dBA | 85 dBA | 80 dBA | 95 dBA | 90 dBA | A
116 | When is the contingency plan preparation required during line break activity? | When working on hydrocarbon line | When working under single isolation | When working in C shift | All of above | When working under single isolation | B
117 | How long must the Fire Watch remain on duty after hot work activities have ceased/completed? | It is not necessary for the Fire Watch to remain on duty after hot work activities have ceased. | 30 minutes | 1 hours. | 45 minutes | 30 minutes | B
118 | Which of these rules is not LPR ZT | No Violation of work permit condition . | No horseplay | No line break without authorization | No entry in confined space without authorization | No horseplay | B
119 | Fire point is ____________ than Flash point | Equal | Lower | Higher | None of above | Higher | C
120 | Fire from a pressurized pipeline leak is termed as | Plane | Jet | Pool | None Of Above | Jet | B
121 | In a chlorine emergency kit, ammonia solution is used for | Detecting chlorine | Detecting impurities in chlorine | None of the above | Both the above | Detecting chlorine | A
122 | NFPA stands for | National Fire Prevention Association | National Fire Prevention Agency | National Fire Protocol Association | National Fire Protection Association | National Fire Protection Association | D
123 | Pungent smell in LPG is due to | Methyl Mercaptan | Catalyst | Surfactant | Ethyl Mercaptan | Ethyl Mercaptan | D
124 | The colour code for the identification of location of MCP is | Red and White Bands in a Circle | Blue and White Bands in a Circle | Green And White Bands in a circle | Black &Yellow Stripes | Red and White Bands in a Circle | A
125 | The plan that shows preparedness for handling any emergency of such magnitude that effects surrounding population and environment around an installation is known as | Onsite Emergency plan | Offsite emergency plan | Pre incident plan | None of these | Offsite emergency plan | B
126 | The oil in a frying pan in kitchen can catch fire due to | Expansion Point | Boiling Point | Dilute Point | None of these | Boiling Point | B
127 | The pictorial representation of safety shower is | Green And White Bands in a circle | Red And White Bands in a circle | Blue And White Bands in a circle | None of these | Green And White Bands in a circle | A
128 | The pictorial representation of breathing apparatus | Green And White Bands in a circle | Red And White Bands in a circle | Blue And White Bands in a circle | None of these | Blue And White Bands in a circle | C
129 | The terminology used for extinguishing fire by cutting out air supply is called. | Starvation | Cooling | Smothering | Isolating | Smothering | C
130 | What are the different modes of heat transfer? | Convection | Conduction | Radiation | All of these | All of these | D
131 | What is the time frame by which the Final Report (Investigation) of high and medium risk should be completed ? | 10 days | 16 days | 18 days | 21 days | 16 days | B
132 | What is the time frame for forming an incident investigation team ? | within 8 hours | within 24 hours | within 2 days | within 3 working days | within 2 days | C
133 | Hot work-Gas cutting set hose colour code for _________ . | For oxygen - Black & Acetylene - Blue | For oxygen -Blue & Acetylene - Maroon | For oxygen -Yellow & Acetylene - Maroon | For oxygen -Maroon & Acetylene - Black | For oxygen -Blue & Acetylene - Maroon | B
134 | Out of this four gas , Which is the permenant gas ? | Chlorine | LPG | CNG | Argon | Chlorine | A
135 | For lifting >30 MT by crane , approval is required from ______ . | Plant HOD | Head CES fabrication & Rigging Cell | CES Maintenance Head | HSEF Head | CES Maintenance Head | C
136 | For Purple Risk, notification and endorsement will be done by, | Segment Head/ Operating Function Head or Equivalent | Reliance Entity Leader | Facility Leader | Plant HOD | Segment Head/ Operating Function Head or Equivalent | A
137 | Which kind of protective Hand Gloves is used for Ethylene Oxide handling ? | PVC Hand Gloves | Nitrile rubber Hand gloves | Cotton Hand gloves | Lather Hand gloves | Nitrile rubber Hand gloves | B
138 | In PIPA, The consolidated list of credible scenario identified by the team shall be reviewed and finalized by | HSEF department | Fire Department | Respective plant Manager and Fire Chief. | All the above | Respective plant Manager and Fire Chief. | C
139 | Why do we define maximum inventories of chemical in PT documents? | To avoid production loss. | To avoid emergencies/process upset | To generate revenue | So the maximum risk is controlled and emergency response is prepared accordingly. | So the maximum risk is controlled and emergency response is prepared accordingly. | D
140 | Recently RIL HMD has taken License for Hydrogen Filling - where this facility is located | PE 1 | PE 2 | CRACKER | PP | PE 1 | A
141 | SMPV Rules means | Static Mobile Pressure Vessel Rules | Static Mobile Pressurised Vessel Rules | Static and Mobile Pressure Vessels (Unfired) Rules | Static and Mobile Pressure Vessels (Fired) Rules | Static and Mobile Pressure Vessels (Unfired) Rules | C
142 | Theme for Annual Safety Campaign 2025 | Safety and Health Crucial for Viksit Bharat | Safety and Wellbeing Crucial for Viksit Bharat | Safety and Wellbeing for Viksit Bharat | Safety and Wellness Crucial for Viksit Bharat | Safety and Wellbeing Crucial for Viksit Bharat | B
143 | What is the Lost work case frequency Rate ? | Lost work case divided by total millions of man hours | Lost work case divided by contractor millions man hours | Lost work case divided by RIL millions man hours | Lost work case divided by total man hours. | Lost work case divided by total millions of man hours | A
144 | RIL Hazira Weekly Learning Communication E Magazine | HSE Performance Magazine | Goal Zero | Zero Goal | Sanskruti | Goal Zero | B

## 8-10 question
ID | Question | OptionA | OptionB | OptionC | OptionD | Correct Answer | Correct Option
1 | Separation Distances between block/facilities are mentioned in | OISD 119 Table 1 | OISD 118 Table 2 | OISD 118 Table 1 | OISD 117 Table 1 | OISD 118 Table 1 | C
2 | What is the safe working criteria for better ventilation in confined space w.r.t air replacement ? | 4 times of total volume in one hours | 6 times of total volume in one hours | 3 times of total volume in one hours | 8 times of total volume in one hours | 6 times of total volume in one hours | B
3 | At what load deflection test of over head hoisting system shall be done ? | At rated load(SWL) | 1.5 times the rated load(SWL) | 2.0 times the rated load(SWL) | 2.5 times the rated load(SWL) | At rated load(SWL) | A
4 | Separation Distances between Storage Tank within a Dyke are mentioned in | OISD 118 Table 1 | OISD 118 Table 4 | OISD 118 Table 2 | OISD 117 Table 3 | OISD 118 Table 4 | B
5 | The warning barrication should be ________________away from edge of the excavation | 3 feet | 7 feet | 6 feet | 1 feet | 6 feet | C
6 | What is the minimum depth of excavation, when the work at height procedure must be complied ? | More than 16 feet | More than 7 feet | More than 4 feet | More than 5 feet | More than 7 feet | B
7 | Effective working duration of SCBA Set with 6 Lit Capacity Cylinder with 300 Bar pressure. Pl explain the basis of Answer Given | 30 Minutes | 45 Minutes | 35 Minutes | 40 Minutes | 35 Minutes | C
8 | Monkey ladder cage guard is required , if the monkey ladder length is ________? | > 2.0 meter length | > 2.5 meter length | > 3.0 meter length | > 4.0 meter length | > 2.5 meter length | B
9 | How much area around scaffolding should be barricading during scaffolding erection, dismantling and use? | 1 meter | 1.5 meter | 2.0 meter | 1.8 meter | 1.5 meter | B
10 | Recently RIL -HMD has taken license for Hydrogen Filling facility - It is covered under which regulation | Gas Cylinder Rule Form E | Gas Cylinder Rule Form F | SMPV Rule 19 | Gas Cylinder Rule EF | Gas Cylinder Rule Form E | A
11 | Allowable CO content in respirator air is __________ | 5 ppm max | 10 ppm max | 20 ppm max | 0 ppm max | 10 ppm max | B
12 | In Risk Register, out of mentioned barrier family, which barrier is not Mitigative Barrier ? | Secondary containment (Bund, Dyke etc) | Emergency Response System (UPS etc) | F&G Detectors, Sprinkler System | Process Control System (BPCS etc) | Process Control System (BPCS etc) | D
13 | With Respect to Petroleum Rules "Petroleum in bulk” means | Petroleum contained in a tank above 500 Lit Capacity | Petroleum contained in a tank above 1000 Lit Capacity | Petroleum contained in a tank irrespective of the quantity of petroleum contained | Petroleum contained in a tank above 100 Lit Capacity | Petroleum contained in a tank irrespective of the quantity of petroleum contained | C
14 | As per Gas group classification, Which gas is not classified in Gas Group IIC | ETHANE | Hydrogen | ACETYLENE | CARBON DISULPHIDE | ETHANE | A
15 | A structure that supports the sides of an excavation and protects against cave –in is called--- | Shoring | Sloping | Angle of support | none of the above | Shoring | A
16 | Cutting of the edge back in inclined manner that it will not slide in the trench or excavated area. | Shoring | Sloping | Angle of support | none of the above | Sloping | B
17 | Who is responsible for ensuring drain & isolation facility provision in new projects? | Project Manager | Construction Manager | HOD-CTS | Safety Head | Project Manager | A
18 | Minimum Qualification for Competent persons under Section 36 - Factories Act 1948 | Bachelor Degree in Chemistry or Degree in Chemical Engineering with 5 Years of experience | Mater Degree in Chemistry or a Degree in Chemical Engineering with 5 years of experience | Bachelor Degree in Chemistry or Degree in Chemical Engineering with 7 Years of experience | Mater Degree in Chemistry or a Degree in Chemical Engineering with 7 years of experience | Mater Degree in Chemistry or a Degree in Chemical Engineering with 7 years of experience | D
19 | What form to be required for certification of pressure vessel as per Gujarat factory rules 61 | Form 9 | Form 10 | Form 11 | Form 12 | Form 11 | C
20 | Filling of any cylinder (except sample bombs) in plant is not allowed without proper permission and license from Department of ---- | Factory Inspector | PESO | HSEF | CES | PESO | B
21 | Under which section certificate of competent person is required for entering in confined space jobs. | Section 34 | Section 35 | Section 36 | Section 42 | Section 36 | C
22 | As per UN Classification Class 1 product is ________. | Corrosive | Flammable | Explosive | Toxic | Explosive | C
23 | As per UN Classification Class 9 product is ________. | Flammable gas | Miscellaneous substance | Oxidizing Agent | Flammable liquid | Miscellaneous substance | B
24 | How Many Days are lost in case of Fatality | 6000 | 3000 | Decided based in severity of Incident | As per Factory Inspector Guideline | 6000 | A
25 | As per UN Classification Class 8 product is ________. | Flammable gas | Corrosive | Explosive | Toxic | Corrosive | B
26 | The TLV of Butadiene is ______ . | 1 ppm | 2 ppm | 3 ppm | 4 ppm | 2 ppm | B
27 | The TLV of Ethylene Oxide is | 1 ppm | 2 ppm | 3 ppm | 4 ppm | 1 ppm | A
28 | RIL HMD Ownership Cross country Pipeline carries which material currently | Naphtha - PX | Naphtha -PX - WATER | PX - Naphtha - Ethane | Naphtha - Water - NG | Naphtha -PX - WATER | B
29 | What is the Explosive range (LEL-UEL) of Ethylene Oxide ? | 1.0 & to 10 % | 1.5% to 75% | 3.0 % to 100 % | Non of the above | 3.0 % to 100 % | C
30 | What is minimum ignition energy required for Hydrogen Gas ? | 0.02 j | 2.0 mj | 0.02 mj | 20 mj | 0.02 mj | C
31 | Highest Number of Lost work Incident Free Days achieved in Complex are How Many ? And When? | 451 ; 2021-22 | 479 ; 2023-24 | 331 ; 2022-23 | 379 ; 2023-24 | 379 ; 2023-24 | D
32 | In any process which of following may cause generation of static electricity ? | Splashing of chemical | High velocity flow | Agitation at high speed | All of the above | All of the above | D
33 | Expansion ratio of LPG from liquid phase to vapour phase is | 200 | 20 | 270 | 1400 | 270 | C
34 | which OMS SE is not high impact element | 4.5 Control of Work | 4.1 Procedure and Practices | 1.4 Resources and Implementation | 2.2 People and Competence | 1.4 Resources and Implementation | C
35 | The maximum height for storage tank as per PESO/standards is | 12.5 meter | 17 meter | 15 meter | 20 meter | 20 meter | D
36 | For large warehouse protection these type of detectors are used | Heat | Flame | Beam | None of the above | Beam | C
37 | Hazmat foam is used for | Vapour suppression | Smothering | Cut off oxygen supply | All the above | All the above | D
38 | LWC Happened in Cracker Plant was classified in | RWC - FAC - Process Fire - PSI Tier 2 | MTC - FAC - Process Fire - PSI Tier 2 | LWC - MTC - Process Fire - PSI Tier 1 | LWC -FAC - Process Fire - PSI Tier 1 | All of these | D
39 | The Flammability limit of Hydrogen is | 2%-10% | 4%-74% | 1%-44% | 3%-15% | 4%-74% | B
40 | What is the full form of AFFF ? | Aqueous Film Forming Foam | Aqua Film Forming Foam | Aqua Fluro Forming Foam | None of these | Aqueous Film Forming Form | A
41 | How many max minutes before the start-up of the HWP should the Gas test be valid. | 30 Minutes | 45 Minutes | 60 Minutes | None of above | 60 Minutes | C
42 | Gujarat Factory Rules Form 9 is filled for | Examination of Lift | Examination of Lifting Tools | Examination of Centrifuges | Examination of Monorail | Examination of Hoists & Lift | A
43 | Lowest LWCFR Achieved in HMD Last 10 Years | 0.04 | 0.053 | 0.069 | 0.023 | 0.04 | A
44 | Which OMS Sub Element is not directly related to any of PSM Elements | 1.7 Culture | 8.2 Assurance and Audit | 2.2 People and Competence | 2.4 Organizational Learning | 1.7 Culture | A
45 | Benchmark good operating practices from across the RIL Group and/or external sources to identify opportunities for risk reduction and operating performance improvement. - This Group Essential is part of which OMS Sub Element | 3.1 Risk Assessment and Management | 3.3 Process Safety | 2.4 Organizational Learning | 8.3 Performance Review | 2.4 Organizational Learning | C
46 | Lowest number of total injury Achieved in HMD Pet Chem in Last 10 Years | 11 in 2021-22 | 13 in 2021-22 | 18 in 2022-23 | 15 in 2019-20 | 11 in 2021-22 | A
47 | Third Party Safety Audit is conducted as per which standard ? At what frequency ? | Factory Act Codes and Practices - IS 14489 :2018 - Every Year | Safety Codes and Practices - IS 14489 :2018 - Every Year | Occupational Health and Safety Audit - Code of Practices - IS 14489 :2018 - Every Year | OHSA- Code of Practices - IS 14489 :2018 - Every Year | Occupational Health and Safety Audit - Code of Practices - IS 14489 :2018 - Every Year | C
48 | Fill in the Blanks As per SMPV Rules No. ________ : Relief valves shall be tested by a Competent Person for correct operation at least _____ and a record of such test shall be maintained. | 19, Once in two year | 18, once in a six month | 19, once in a year | 18 , once in a year | 18 , once in a year | D
49 | As per RIL Specification what shall be composition of IFR Suit used in Reliance | 93% Nomex 5% Kelver 2% Q140 | 98% META ARAMID +PARA ARAMID, 2% ANTISTATIC | 92% NOMEX 6% PARA ARAMID 2% ANTISTATIC | 93% Nomex 5% PARA ARAMID 2% Q140 | 98% META ARAMID +PARA ARAMID, 2% ANTISTATIC | B
50 | As per RIL Specifications what shall be weight of Helmet and which is the standard for Helmet | Weight : 400 GMS ( + or - 20 GMS) Standard : IS 2925 : 1984 | Weight : 400 GMS ( + or - 10 GMS) Standard : IS 2925 : 1983 | Weight : 350 GMS ( + or - 10 GMS) Standard : IS 2925 : 1983 | Weight : 400 GMS ( + or - 30 GMS) Standard : IS 2925 : 1983 | Weight : 400 GMS ( + or - 20 GMS) Standard : IS 2925 : 1984 | A
51 | Lifelines shall be designed to support (OSHA 1926.104) | 2500 Kgs per person | 2100 Kgs per person | 2300 Kgs PER Person | 2000 Kgs per person | 2300 Kgs PER Person | C
52 | What is the Last issue of Weekly Goal Zero Series | 123 | 124 | 125 | 126 | 125 | C
53 | Which is classified not in dangerous occurances as per GFR | Bursting of a plant used for containing of supplying steam under pressure | Collapse or failure of a crane | Explosion, fire, bursting out. leakage, or escape of any molten metal | Multiple Fatalities | Multiple Fatalities | D